## CLASH MATRIX
CLASH MATRIX |  | Discipline | ARCHITECTURAL | [9 empty] | STRUCTURAL |  |  |  | MECHANICAL | [7 empty] | ELECTRICAL |  |  |  |  | PLUMBING
|  | Element Category | Floors |  |  | Walls | [6 empty] | Structural Beam Systems | Structural Columns | Structural Framing |  | Duct Fittings |  |  |  |  | Ducts |  |  | Cable Tray Fittings | Cable Trays | Conduits | Lighting Fixtures | Wires | Pipe Fittings | Pipes
Discipline | Element Category | Element Type | 6" Slab on Grade with 1" Finish | 6" Concrete with 1" Terrazzo | Exterior Concrete Slab | Exterior - Brick and CMU on MTL. Stud | Exterior - Brick and CMU on MTL. Stud (No Parapet) | Generic - 8" Masonry | Interior - 6 1/8" Partition (2-hr) | 18" Concrete | 4 1/2” Soffit | Storefront | Structural Framing System | HSS6X6X5/8 | W14X30 | W12X26 | 1.5 W | Standard | 1 D | 45 Degree | 1 W | Radius Elbows / Taps | Taps | Taps / Short Radius | Standard | Ladder Cable Tray | Rigid Nonmetallic Conduit (RNC Sch 40) | 610x1219 - 120 | XHHW | Standard | Standard | PVC - DWV
ARCHITECTURAL | Floors | 6" Slab on Grade with 1" Finish | NA
|  | 6" Concrete with 1" Terrazzo | H-50
|  | Exterior Concrete Slab | H-50 | H-50
| Walls | Exterior - Brick and CMU on MTL. Stud | H-50 | H-50 | H-50
|  | Exterior - Brick and CMU on MTL. Stud (No Parapet) | H-50 | H-50 | H-50 | H-50
|  | Generic - 8" Masonry | H-50 | H-50 | H-50 | H-50 | H-50
|  | Interior - 6 1/8" Partition (2-hr) | H-50 | H-50 | H-50 | H-50 | H-50 | H-50
|  | 18" Concrete | H-50 | H-50 | H-50 | H-50 | H-50 | H-50
|  | 4 1/2” Soffit | H-50 | H-50 | H-50 | H-50 | H-50 | H-50
|  | Storefront | H-50 | H-50 | H-50 | H-50 | H-50 | H-50
STRUCTURAL | Structural Beam Systems | Structural Framing System | H-100 | H-100 | H-100 | H-100 | H-100 | H-100
| Structural Columns | HSS6X6X5/8 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100
| Structural Framing | W14X30 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100
|  | W12X26 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100
MECHANICAL | Duct Fittings | 1.5 W | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000
|  | Standard | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000
|  | 1 D | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000
|  | 45 Degree | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000
|  | 1 W | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000
| Ducts | Radius Elbows / Taps | H-200 | H-200 | H-200 | H-200 | H-200 | H-200
|  | Taps | H-200 | H-200 | H-200 | H-200 | H-200 | H-200
|  | Taps / Short Radius | H-200 | H-200 | H-200 | H-200 | H-200 | H-200
ELECTRICAL | Cable Tray Fittings | Standard | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000
| Cable Trays | Ladder Cable Tray | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000
| Conduits | Rigid Nonmetallic Conduit (RNC Sch 40) | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000
| Lighting Fixtures | 610x1219 - 120 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000
| Wires | XHHW | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000
PLUMBING | Pipe Fittings | Standard | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
| Pipes | Standard | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
|  | PVC - DWV | H-20 | H-20 | H-20 | H-20 | H-20 | H-20

## CLASH MATRIX (COLOR CODED)
CLASH MATRIX |  | Discipline | ARCHITECTURAL | [9 empty] | STRUCTURAL |  |  |  | MECHANICAL | [7 empty] | ELECTRICAL |  |  |  |  | PLUMBING
|  | Element Category | Floors |  |  | Walls | [6 empty] | Structural Beam Systems | Structural Columns | Structural Framing |  | Duct Fittings |  |  |  |  | Ducts |  |  | Cable Tray Fittings | Cable Trays | Conduits | Lighting Fixtures | Wires | Pipe Fittings | Pipes
Discipline | Element Category | Element Type | 6" Slab on Grade with 1" Finish | 6" Concrete with 1" Terrazzo | Exterior Concrete Slab | Exterior - Brick and CMU on MTL. Stud | Exterior - Brick and CMU on MTL. Stud (No Parapet) | Generic - 8" Masonry | Interior - 6 1/8" Partition (2-hr) | 18" Concrete | 4 1/2” Soffit | Storefront | Structural Framing System | HSS6X6X5/8 | W14X30 | W12X26 | 1.5 W | Standard | 1 D | 45 Degree | 1 W | Radius Elbows / Taps | Taps | Taps / Short Radius | Standard | Ladder Cable Tray | Rigid Nonmetallic Conduit (RNC Sch 40) | 610x1219 - 120 | XHHW | Standard | Standard | PVC - DWV
ARCHITECTURAL | Floors | 6" Slab on Grade with 1" Finish | NA
|  | 6" Concrete with 1" Terrazzo | H-50
|  | Exterior Concrete Slab | H-50 | H-50
| Walls | Exterior - Brick and CMU on MTL. Stud | H-50 | H-50 | H-50
|  | Exterior - Brick and CMU on MTL. Stud (No Parapet) | H-50 | H-50 | H-50
|  | Generic - 8" Masonry | H-50 | H-50 | H-50
|  | Interior - 6 1/8" Partition (2-hr) | H-50 | H-50 | H-50
|  | 18" Concrete | H-50 | H-50 | H-50
|  | 4 1/2” Soffit | H-50 | H-50 | H-50
|  | Storefront | H-50 | H-50 | H-50
STRUCTURAL | Structural Beam Systems | Structural Framing System | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100
| Structural Columns | HSS6X6X5/8 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100
| Structural Framing | W14X30 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100
|  | W12X26 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100 | H-100
MECHANICAL | Duct Fittings | 1.5 W | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | H-20 | H-20 | H-20 | H-20
|  | Standard | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | H-20 | H-20 | H-20 | H-20
|  | 1 D | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | H-20 | H-20 | H-20 | H-20
|  | 45 Degree | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | H-20 | H-20 | H-20 | H-20
|  | 1 W | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | C-1000 | H-20 | H-20 | H-20 | H-20
| Ducts | Radius Elbows / Taps | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
|  | Taps | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
|  | Taps / Short Radius | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-200 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
ELECTRICAL | Cable Tray Fittings | Standard | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
| Cable Trays | Ladder Cable Tray | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
| Conduits | Rigid Nonmetallic Conduit (RNC Sch 40) | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
| Lighting Fixtures | 610x1219 - 120 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
| Wires | XHHW | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | C-100 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
PLUMBING | Pipe Fittings | Standard | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20
| Pipes | Standard | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | NA
|  | PVC - DWV | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20 | H-20